Determining the Concentration

of a Solution: Beer’s Law

The primary objective of this experiment is to determine the concentration of an unknown copper (II) sulfate solution.  You will use a Vernier Spectrometer (V-SPEC) to measure the concentration of each solution. You will first measure the absorbance of a standard solution over the visible light spectrum (380 – 950 nm) and select the wavelength of maximum absorbance. A higher concentration of the colored solution absorbs more light (and transmits less) than a solution of lower concentration.

You will prepare five copper (II) sulfate solutions of known concentration (standard solutions).  Each solution is transferred to a small, rectangular cuvette that is placed into the V-SPEC. The amount of light that passes through the solution is used to compute the absorbance of each solution. When you graph absorbance vs. concentration for the standard solutions, a direct relationship should result. The direct relationship between absorbance and concentration for a

solution is known as Beer’s law.

You will determine the concentration of an unknown CuSO4 solution by measuring its absorbance with the V-SPEC and using the slope of the Beer’s law curve.

OBJECTIVES

In this experiment, you will

• Measure and analyze the visible light absorbance spectrum of a standard copper (II) sulfate solution to determine the maximum wavelength of absorbance.

• Prepare and test the absorbance of five standard copper (II) sulfate solutions.

• Calculate a standard curve from the test results of the standard solutions.

• Test the absorbance of a copper (II) sulfate solution of unknown molar concentration.

MATERIALS

Vernier Spectrometer, 0.10 M copper (II) sulfate, CuSO4, solution

computer copper (II) sulfate, CuSO4, unknown solution

one cuvette

two disposable pipettes

two beakers

five test tubes

PROCEDURE

1. Obtain and wear goggles.

2. Use a USB cable to connect a Vernier Spectrometer to a computer.

3. Start the Logger Pro program on your computer.

4. Obtain small volumes of 0.10 M CuSO4 solution and distilled water in separate beakers.

5. Label five clean, dry, test tubes 1–5. Use pipets to prepare four standard solutions according to the chart below (the fifth standard is the stock 0.10 M CuSO4 solution). Thoroughly mix

each solution.

| Test Tube number | 0.10 M CuSO4 (ml) | Distilled H2O (ml) | Concentration (M) |
| --- | --- | --- | --- |
| 1 total vol. = 6 ml |  |  | .10 |
| 2 total vol. = 6 ml |  |  | .08 |
| 3 total vol. = 6 ml |  |  | .06 |
| 4 total vol. = 6 ml |  |  | .04 |
| 5 total vol. = 6 ml |  |  | .02 |

6. To set up the spectrometer, open the Experiment menu and select Connect Interface → Spectrometer → Scan for Spectrometers.  NOTE—You may not need to perform this step as the spectrometer should auto-recognize.

7. Calibrate the spectrometer.

a. Prepare a blank by filling an empty cuvette ¾ full with distilled water.

b. Open the Experiment menu and select Calibrate → (Spectrometer). The following message appears in the Calibrate dialog box: “Waiting … seconds for the device to warm up.” After 60 seconds, the message changes to: “Warmup complete.”

c. Place the blank in the cuvette holder of the spectrometer. Align the cuvette so that the clear sides are facing the light source of the spectrometer. Click “Finish Calibration.”

8. Determine the maximum wavelength for CuSO4 (aq) and set up the data collection mode.

a. Empty the blank cuvette and rinse it twice with small amounts of the 0.10 M CuSO4 solution. Fill the cuvette ¾ full with the 0.10 M CuSO4 solution and place it in the cuvette holder of the spectrometer.

b. Click “collect”. A full spectrum graph of the CuSO4 solution will be displayed. Note that one area of the graph contains a peak absorbance. Click “stop” to complete the analysis.

c. To save your graph of absorbance vs. wavelength, select Store Latest Run from the Experiment menu.

d. Click the Configure Spectrometer Data Collection icon, the colored line graph, on the toolbar. A dialog box will appear.

e. Select Absorbance vs. Concentration under Set Collection Mode. The peak absorbance will be automatically selected. Select a new wavelength, if you wish, by clicking on the graph or checking the box next to the desired wavelength. Click “OK”  to proceed. If you need to start over, click  “clear” and select a wavelength (or wavelengths) again.

Determining the Concentration of a Solution: Beer’s law

9. Collect absorbance-concentration data for the five standard solutions.

a. Remove the cuvette from the spectrometer and dispose of the solution as directed. Use the solution in Test Tube 1 to rinse the cuvette twice with ~1 mL amounts, and then fill it ¾ full. Wipe the cuvette with a tissue and place it in the spectrometer cuvette holder. Click “collect.” When the absorbance reading stabilizes, click “keep.” Enter “0.02” as the concentration of the solution.

b. Discard the cuvette contents as directed. Using the solution in Test Tube 2, rinse and fill the cuvette ¾ full. Wipe the cuvette and place it in the spectrometer. When the absorbance reading stabilizes, click “keep”.  Enter “0.04” as the concentration.

c. Repeat Step 9b for the remaining test tubes of the standard CuSO4 solution. When you have finished testing the standard solutions, click “stop.”

10. To determine the best-fit line equation for the CuSO4 standard solutions, click the linear fit button on the toolbar.   Print your graph at this point.

11. Obtain the data needed to determine the concentration of the unknown CuSO4 solution.

a. Obtain about 5 mL of the unknown CuSO4 solution.

b. Rinse the cuvette twice with the unknown solution and fill it about ¾ full. 	Wipe the outside of the cuvette and place it into the spectrometer.

c.  Record the absorbance of your unknown.   DO NOT INCLUDE 	THIS POINT ON THE GRAPH.

d. Dispose of the solution.

12.  Print a copy of your graph, including the regression analysis.

DATA ANALYSIS

Determine the concentration of the unknown CuSO4 solution.   SHOW 	ALL WORK.

CONCLUSION

Answer the following questions:

1.  Why did you begin this lab by looking at a complete spectrum?

2.  What was the purpose of the distilled water?

3.  What is a “standard curve?”

4.  What did the electrons do that caused the light to be absorbed?

5.  Why did some of the solutions absorb more light than others?

6.  Explain how you determined the concentration of your unknown. 		(explain the math you did in the data analysis section.)